ELE2213 INSTRUMENTATION

| Hours per Semester | Weighted Total Mark | Weighted Exam Mark | Weighted Continuous Assessment Mark | Credit Units |
| --- | --- | --- | --- | --- |
| LH | PH | TH | CH | WTM | WEM | WCM | CU |
| 45 | 30 | 00 | 60 | 100 | 60 | 40 | 4 |

Rationale

The  course  enables students to  acquire knowledge and  skills  on  electrical instrumentation and measurements.

Course Objectives

By the end of the course students should be able to:

•	Understand the construction, operation and characteristic of electrical instruments

•	Use electrical instruments to measure various quantities

Detailed Course Content:

Review of Measurement Specifications:	[ 4 Hours] Standards, units. Absolute and relative measurement. Instrument specifications range, resolution, accuracy, linearity, etc.

Analogue Instruments:	[ 8 Hours] Moving coil, moving iron instruments.   Electrostatic and induction meters. Ballistic galvanometer, Grasso flux meter.

Digital Instruments: Multimeters, data analysers, signal synthesisers. Counters and timers. Transducers:	[ 6 Hours] Transduction methods  resistance and  reactance change,  electromagnetic, semiconductor, digital, thermo‐electric.  Measurement of displacement, velocity and acceleration, time and frequency, light, temperature, volume, pressure, flow and force.

Analogue Data Processing:	[ 9 Hours]

The  operational  amplifier;  characteristics,  configurations.  Analogue  computer  hardware,  data handling operations and circuits. Simulation of differential equations and transfer functions.

Data Acquisition and Conversion:	[ 10 Hours] Sampling theorem, quantisation, multiplexing, filtering sample and hold.   ADC circuits dual slope, parallel comparator, successive approximation voltage‐to‐frequency, etc, ADC specifications.   DAC circuits R‐2 ladder, weighted resistor, etc. DAC specifications.

Computerized Measurement and Control Systems:	[ 8 Hours] Measurement and control configurations. Instrument control with the GPIB IEEE) bus.  Measurement and control algorithms; running averages, deviations, PID.

Mode of Delivery

The course will be taught by using lectures, tutorials and assignments.

Assessment

Assignments, tests, laboratories, and final examination. Their relative contributions to the final grade are :

Requirement	Percentage contribution

Course work (Assignments, laboratories, tests)            40% Final examination                                                                     60% Total                                                                                              100%

Learning Outcomes

The student will:

•	Acquire knowledge of the type of measuring   instruments and be able to appreciate why certain instruments are m ore favourable in a particular environment and requirement (accuracy or precision among others);

•	Understand the types of errors that occur during measurement and how best they can be minimised during experimental setup.

•	Acquire concepts on sensors and their use in design of automated systems.

Method of Teaching /Delivery

The course will be taught by using lectures, tutorials and assignments.

Mode of Assessment

Assignments, tests and final examination. Their relative contributions to the final grade are :

Requirement	Percentage contribution

Course work (Assignments, tests)	40% Final examination	60% Total	 100%

Recommended Books and References

[1]	Allan S. Morris, Measurement and Instrumentation Principles, 3rd ed., Butterworth Heinemann,

2001

[2]	K. Ogata, Discrete­ Time Control Systems

Possible Lecturers:

Dr. J. Butime

Mr. D. Nsubuga Mubiru

Mr. P. Bogere